## Sheet1
50 MW Load Plant Grid with Battery (200 MW Hybrid, 100 MW 150MWh Battery | [24 empty] | 50 MW Load Plant Grid with No Battery (200 MW Hybrid) | [24 empty] | 50 MW Load Plant No Grid with Battery (200 MW Hybrid, 100 MW 150MWh Battery, 50 MW varying electrolyzer) | [24 empty] | 50 MW Load Plant No Grid with No Battery (200 MW Hybrid)
Year | Electricity Cost ($/mwh) |  |  |  | LCOH (feedstock) ($/kg) |  |  |  | LCOS ($/tls) |  |  |  | Min Electrolyzer Size (MW |  |  |  | Steel Production (tls) |  |  |  | Net Present Value (Mil USD) |  |  |  | Year | Electricity Cost ($/mwh) |  |  |  | LCOH (feedstock) ($/kg) |  |  |  | LCOS ($/tls) |  |  |  | Min Electrolyzer Size |  |  |  | Steel Production (tls) |  |  |  | Net Present Value |  |  |  | Year | Electricity Cost ($/mwh) |  |  |  | LCOH (feedstock) ($/kg) |  |  |  | LCOS ($/tls) |  |  |  | Min Electrolyzer Size |  |  |  | Steel Production (tls) |  |  |  | Net Present Value |  |  |  | Year | Electricity Cost ($/mwh) |  |  |  | LCOH (feedstock) ($/kg) |  |  |  | LCOS ($/tls) |  |  |  | Min Electrolyzer Size |  |  |  | Steel Production (tls) |  |  |  | Net Present Value
| Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) |  | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) |  | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) |  | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative)
2020 | 74.49 | 75.43 | 76.34 | 66.68 | 3.8 | 3.85 | 3.89 | 3.4 | 651.8 | 655.52 | 659.11 | 630.96 | 36.89 | 36.89 | 36.89 | 36.89 | 108035 | 108035 | 108035 | 108035 | 36.62 | 32.9 | 29.31 | 67.43 | 2020 | 59.56 | 60.38 | 61.16 | 52.62 | 3.04 | 3.08 | 3.12 | 2.68 | 592.84 | 596.09 | 599.17 | 565.45 | 36.89 | 36.89 | 36.89 | 36.89 | 108035 | 108035 | 108035 | 108035 | 95.519 | 92.27 | 89.19 | 122.89 | 2020 | 82.26 | 84.23 | 86.23 | 68.34 | 4.2 | 4.3 | 4.4 | 3.49 | 682.49 | 690.28 | 698.16 | 627.51 | 27.83 | 26.51 | 26.62 | 33.5 | 81487 | 79695 | 77954 | 98096 | 4.49 | -1.35 | -7 | 55.281 | 2020 | 63.891 | 65.4368 | 66.9884 | 53.1536 | 3.2584 | 3.3373 | 3.4164 | 2.7108 | 609.945 | 616.0494 | 622.1768 | 567.5427 | 25.1738 | 24.5901 | 24.0056 | 30.5994 | 73721.087 | 72011.7857 | 70300 | 89609.9788 | 53.5212 | 48.2151 | 43.0856 | 100.1949
2021 | 70.21 | 71.49 | 72.46 | 62.85 | 3.51 | 3.57 | 3.62 | 3.14 | 625.99 | 630.97 | 634.74 | 597.41 | 36.72 | 36.72 | 36.72 | 36.72 | 109672 | 109672 | 109672 | 109672 | 64.14 | 59.09 | 55.26 | 93.13 | 2021 | 56.96 | 58.1 | 58.94 | 50.41 | 2.85 | 2.91 | 2.95 | 2.52 | 574.55 | 578.96 | 582.24 | 549.07 | 36.72 | 36.72 | 36.72 | 36.72 | 109672 | 109672 | 109672 | 109672 | 116.31 | 111.84 | 108.52 | 142.15 | 2021 | 76.62 | 78.93 | 80.89 | 64.13 | 3.83 | 3.95 | 4.04 | 3.21 | 650.89 | 659.86 | 667.5 | 602.38 | 27.69 | 27.08 | 26.49 | 33.34 | 82722 | 80903 | 79135 | 99582 | 29.33 | 21.98 | 15.91 | 79.99 | 2021 | 60.1172 | 62.0421 | 63.6088 | 50.4864 | 3.0059 | 3.1021 | 3.1804 | 2.5243 | 586.7968 | 594.2734 | 600.3586 | 549.3904 | 25.0541 | 24.4732 | 23.8915 | 30.4539 | 74838.0731 | 73102.8733 | 71365 | 90967.7057 | 70.8925 | 64.1944 | 58.6525 | 117.6398
2022 | 67.72 | 69.78 | 71.54 | 61.95 | 3.32 | 3.42 | 3.51 | 3.04 | 607.71 | 615.59 | 622.32 | 585.66 | 36.52 | 36.52 | 36.52 | 36.52 | 111309 | 111309 | 111309 | 111309 | 84.7 | 76.58 | 69.65 | 107.34 | 2022 | 55.41 | 57.01 | 58.34 | 49.81 | 2.71 | 2.79 | 2.86 | 2.44 | 560.69 | 566.8 | 571.9 | 539.3 | 36.52 | 36.52 | 36.52 | 36.52 | 111309 | 111309 | 111309 | 111309 | 133.1 | 126.81 | 121.55 | 155.11 | 2022 | 73.34 | 76.63 | 79.63 | 63.13 | 3.59 | 3.75 | 3.9 | 3.09 | 629.18 | 641.74 | 653.21 | 590.2 | 27.55 | 26.94 | 26.35 | 33.16 | 83957 | 82110 | 80317 | 101069 | 47.21 | 36.64 | 27.31 | 93.27 | 2022 | 57.8551 | 60.4165 | 62.6969 | 49.7667 | 2.8349 | 2.9604 | 3.0721 | 2.4386 | 570.039 | 579.8211 | 588.5301 | 539.1487 | 24.9195 | 24.3417 | 23.7632 | 30.2903 | 75955.0593 | 74193.961 | 72431 | 92325.4327 | 84.2535 | 75.5883 | 67.9582 | 128.7867
2023 | 65.2 | 67.89 | 70.57 | 60.98 | 3.13 | 3.26 | 3.39 | 2.93 | 589.75 | 599.87 | 609.92 | 573.93 | 36.57 | 36.57 | 36.56 | 36.56 | 113764 | 113764 | 113764 | 113764 | 106.23 | 95.58 | 85.01 | 122.87 | 2023 | 53.84 | 55.9 | 57.72 | 49.18 | 2.58 | 2.68 | 2.77 | 2.36 | 547.11 | 554.85 | 561.69 | 529.64 | 35.56 | 35.56 | 35.56 | 35.56 | 113764 | 113764 | 113764 | 113764 | 151.09 | 142.95 | 135.75 | 169.47 | 2023 | 70.02 | 74.08 | 78.29 | 62.07 | 3.36 | 3.56 | 3.76 | 2.98 | 607.85 | 623.12 | 638.91 | 578.03 | 27.58 | 26.97 | 26.38 | 33.2 | 85809 | 83922 | 82088 | 103298 | 65.77 | 52.47 | 39.33 | 107.65 | 2023 | 55.5746 | 58.7699 | 61.7505 | 49.0198 | 2.6676 | 2.821 | 2.964 | 2.353 | 553.6325 | 565.628 | 576.8175 | 529.0252 | 24.9494 | 24.3709 | 23.7917 | 30.3267 | 77630.5386 | 75830.5925 | 74028 | 94362.0231 | 98.4178 | 87.7239 | 77.9786 | 141.1028
2024 | 62.69 | 66.34 | 69.64 | 60.06 | 2.95 | 3.12 | 3.27 | 2.82 | 572.29 | 585.78 | 597.94 | 562.62 | 36.57 | 36.57 | 36.57 | 36.57 | 116220 | 116220 | 116220 | 116220 | 128.05 | 113.56 | 100.48 | 138.45 | 2024 | 52.28 | 54.81 | 57.12 | 48.59 | 2.46 | 2.58 | 2.68 | 2.28 | 533.91 | 543.23 | 551.77 | 520.28 | 36.57 | 36.57 | 36.57 | 36.57 | 116220 | 116220 | 116220 | 116220 | 169.31 | 159.29 | 150.11 | 183.95 | 2024 | 66.71 | 72 | 77.01 | 61.06 | 3.14 | 3.38 | 3.62 | 2.87 | 587.14 | 606.64 | 625.14 | 566.31 | 27.59 | 26.98 | 26.39 | 33.21 | 87661 | 85733 | 83860 | 105528 | 84.55 | 67.23 | 51.41 | 122.11 | 2024 | 53.3123 | 57.1462 | 60.8383 | 48.2999 | 2.5057 | 2.6859 | 2.8594 | 2.2701 | 537.7163 | 551.8597 | 565.4806 | 519.2248 | 24.9569 | 24.3782 | 23.7988 | 30.3358 | 79306.0178 | 77467.224 | 75626 | 96398.6135 | 112.7371 | 99.9908 | 88.0882 | 153.5196
2025 | 60.2 | 64.71 | 68.7 | 59.14 | 2.77 | 2.98 | 3.16 | 2.72 | 555.37 | 571.73 | 586.19 | 551.52 | 36.3 | 36.3 | 36.3 | 36.3 | 117857 | 117857 | 117857 | 117857 | 149.09 | 131.22 | 115.46 | 153.24 | 2025 | 50.72 | 53.71 | 56.52 | 47.99 | 2.33 | 2.47 | 2.6 | 2.21 | 521.03 | 531.87 | 542.05 | 511.12 | 36.3 | 36.3 | 36.3 | 36.3 | 117857 | 117857 | 117857 | 117857 | 186.47 | 174.66 | 163.56 | 197.28 | 2025 | 63.53 | 69.8 | 75.72 | 60.05 | 2.92 | 3.21 | 3.48 | 2.76 | 567.09 | 590.18 | 611.63 | 554.82 | 27.38 | 26.78 | 26.19 | 32.96 | 88895 | 86940 | 85041 | 107014 | 102.79 | 81.96 | 63.3 | 135.88 | 2025 | 51.0503 | 55.5204 | 59.9262 | 47.58 | 2.3483 | 2.5539 | 2.7566 | 2.1887 | 522.2212 | 538.4215 | 554.3889 | 509.6446 | 24.7699 | 24.1956 | 23.6205 | 30.1085 | 80423.004 | 78558.3116 | 76691 | 97756.3405 | 126.3616 | 111.6625 | 97.6841 | 164.9656
2026 | 58.07 | 63.34 | 67.85 | 58.3 | 2.67 | 2.91 | 3.12 | 2.68 | 544.76 | 563.84 | 580.21 | 545.59 | 36.3 | 36.3 | 36.3 | 36.3 | 117857 | 117857 | 117857 | 117857 | 161.19 | 140.39 | 122.54 | 160.28 | 2026 | 49.19 | 52.63 | 55.94 | 47.4 | 2.26 | 2.42 | 2.57 | 2.18 | 512.57 | 525.05 | 537.02 | 506.08 | 36.3 | 36.3 | 36.3 | 36.3 | 117857 | 117857 | 117857 | 117857 | 196.27 | 182.66 | 169.62 | 203.34 | 2026 | 60.63 | 67.95 | 74.56 | 59.13 | 2.79 | 3.13 | 3.43 | 2.72 | 554.04 | 580.56 | 604.51 | 548.58 | 27.38 | 26.78 | 26.19 | 32.96 | 88895 | 86940 | 85041 | 107014 | 113.95 | 90.114 | 69.32 | 142.57 | 2026 | 48.8242 | 53.9164 | 59.0339 | 46.8759 | 2.2459 | 2.4802 | 2.7156 | 2.1563 | 511.2428 | 529.6978 | 548.2443 | 504.1817 | 24.7699 | 24.1956 | 23.6205 | 30.1085 | 80423.004 | 78558.3116 | 76691 | 97756.3405 | 134.9159 | 118.3803 | 102.4131 | 170.3773
2027 | 55.93 | 61.98 | 67.03 | 57.49 | 2.57 | 2.85 | 3.08 | 2.64 | 534.09 | 556.01 | 574.33 | 539.74 | 36.3 | 36.3 | 36.3 | 36.3 | 117857 | 117857 | 117857 | 117857 | 173.38 | 149.49 | 129.53 | 167.22 | 2027 | 47.66 | 51.57 | 55.36 | 46.83 | 2.19 | 2.37 | 2.55 | 2.15 | 504.11 | 518.27 | 532.02 | 501.09 | 36.3 | 36.3 | 36.3 | 36.3 | 117857 | 117857 | 117857 | 117857 | 206.06 | 190.63 | 175.64 | 209.36 | 2027 | 57.81 | 66.13 | 73.43 | 58.24 | 2.66 | 3.04 | 3.38 | 2.68 | 540.91 | 571.03 | 597.5 | 542.44 | 27.38 | 26.78 | 26.19 | 32.96 | 88895 | 86940 | 85041 | 107014 | 125.17 | 98.2 | 75.24 | 148.16 | 2027 | 46.5979 | 52.3269 | 58.1567 | 46.1836 | 2.1435 | 2.407 | 2.6752 | 2.1244 | 500.2636 | 521.0262 | 542.1544 | 498.7619 | 24.7699 | 24.1956 | 23.6205 | 30.1085 | 80423.004 | 78558.3116 | 76691 | 97756.3405 | 143.4706 | 125.0603 | 107.1033 | 175.75
2028 | 53.81 | 60.55 | 66.21 | 56.68 | 2.42 | 2.72 | 2.98 | 2.55 | 519.35 | 543.29 | 563.46 | 529.53 | 36.25 | 36.25 | 36.25 | 36.25 | 120312 | 120312 | 120312 | 120312 | 194.11 | 167.47 | 145.04 | 182.78 | 2028 | 46.12 | 50.5 | 54.77 | 46.24 | 2.08 | 2.27 | 2.46 | 2.08 | 491.94 | 507.53 | 522.76 | 492.38 | 36.25 | 36.25 | 36.25 | 36.25 | 120312 | 120312 | 120312 | 120312 | 224.6 | 207.26 | 190.32 | 224.12 | 2028 | 55.03 | 64.19 | 72.3 | 57.34 | 2.48 | 2.89 | 3.25 | 2.58 | 523.66 | 556.28 | 585.12 | 531.89 | 27.34 | 26.74 | 26.16 | 32.92 | 90747 | 88752 | 86813 | 109243 | 142.79 | 112.88 | 87.36 | 163.58 | 2028 | 44.3579 | 50.7364 | 57.2647 | 45.4796 | 1.9961 | 2.2831 | 2.5769 | 2.0466 | 485.6832 | 508.3855 | 531.6208 | 489.6755 | 24.7363 | 24.1627 | 23.5884 | 30.0676 | 82098.4832 | 80194.9431 | 78288.9 | 99792.9309 | 158.0181 | 137.5177 | 117.4269 | 188.3909
2029 | 51.66 | 59.24 | 65.39 | 55.87 | 2.32 | 2.67 | 2.94 | 2.51 | 508.84 | 535.81 | 557.69 | 523.8 | 36.25 | 36.25 | 36.25 | 36.25 | 120312 | 120312 | 120312 | 120312 | 206.37 | 176.37 | 152.03 | 189.73 | 2029 | 44.57 | 49.42 | 54.2 | 45.66 | 2.01 | 2.22 | 2.44 | 2.05 | 483.6 | 500.84 | 517.86 | 487.48 | 36.25 | 36.25 | 36.25 | 36.25 | 120312 | 120312 | 120312 | 120312 | 234.36 | 215.27 | 196.34 | 230.14 | 2029 | 52.19 | 62.44 | 71.17 | 56.45 | 2.35 | 2.81 | 3.2 | 2.54 | 510.72 | 547.19 | 578.25 | 525.88 | 27.34 | 26.74 | 26.16 | 32.92 | 90747 | 88752 | 86813 | 109243 | 154.08 | 120.76 | 93.187 | 170.18 | 2029 | 42.1133 | 49.1332 | 56.3875 | 44.7873 | 1.8951 | 2.211 | 2.5374 | 2.0154 | 474.847 | 499.8321 | 525.6511 | 484.364 | 24.7363 | 24.1627 | 23.5884 | 30.0676 | 82098.4832 | 80194.9431 | 78288 | 99792.9309 | 166.6339 | 144.2408 | 122.1196 | 193.7652
2030 | 49.54 | 57.89 | 64.57 | 55.06 | 2.18 | 2.55 | 2.84 | 2.42 | 494.66 | 523.84 | 547.18 | 513.95 | 36.17 | 36.17 | 36.17 | 36.17 | 122767 | 122767 | 122767 | 122767 | 227.38 | 194.25 | 167.75 | 205.48 | 2030 | 43.02 | 48.34 | 53.621 | 45.09 | 1.89 | 2.13 | 2.36 | 1.98 | 471.88 | 490.47 | 508.93 | 479.11 | 36.17 | 36.17 | 36.17 | 36.17 | 122767 | 122767 | 122767 | 122767 | 253.24 | 232.13 | 211.17 | 245.03 | 2030 | 49.39 | 60.62 | 70.04 | 55.56 | 2.17 | 2.67 | 3.08 | 2.44 | 494.15 | 533.38 | 566.29 | 515.71 | 27.28 | 26.68 | 26.1 | 32.84 | 92599 | 90563 | 8858 | 111473 | 171.94 | 135.31 | 105.38 | 184.76 | 2030 | 39.855 | 47.5291 | 55.5103 | 44.095 | 1.7536 | 2.0913 | 2.4425 | 1.9402 | 460.8296 | 487.6446 | 515.5323 | 475.645 | 24.6802 | 24.1079 | 23.5349 | 29.9994 | 83773.9625 | 81831.5746 | 79887 | 101829.5213 | 181.3664 | 156.8687 | 132.5376 | 206.5042
100 MW Load Plant Grid with Battery (400 MW Hybrid, 200 MW 300 MWh Battery) | [24 empty] | 100 MW Load Plant Grid with No Battery (400 MW Hybrid) | [24 empty] | 100 MW Load Plant No Grid with Battery (400 MW Hybrid, 200 MW 300 MWh Battery) | [24 empty] | 100 MW Load Plant No Grid with No Battery (400 MW Hybrid)
Year | Electricity Cost ($/mwh) |  |  |  | LCOH (feedstock) ($/kg) |  |  |  | LCOS ($/tls) |  |  |  | Min Electrolyzer Size (MW) |  |  |  | Steel Production (tls) |  |  |  | Net Present Value |  |  |  | Year | Electricity Cost ($/mwh) |  |  |  | LCOH (feedstock) ($/kg) |  |  |  | LCOS ($/tls) |  |  |  | Min Electrolyzer Size (MW) |  |  |  | Steel Production (tls) |  |  |  | Net Present Value |  |  |  | Year | Electricity Cost ($/mwh) |  |  |  | LCOH (feedstock) ($/kg) |  |  |  | LCOS ($/tls) |  |  |  | Min Electrolyzer Size (MW) |  |  |  | Steel Production (tls) |  |  |  | Net Present Value |  |  |  | Year | Electricity Cost ($/mwh) |  |  |  | LCOH (feedstock) ($/kg) |  |  |  | LCOS ($/tls) |  |  |  | Min Electrolyzer Size (MW) |  |  |  | Steel Production (tls) |  |  |  | Net Present Value
| Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) |  | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) |  | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) |  | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative)
2020 | 75.1689 | 76.12 | 77.0425 | 67.3576 | 3.8336 | 3.8821 | 3.9292 | 3.4352 | 654.4819 | 658.2379 | 661.8807 | 623.635 | 73.7823 | 73.7823 | 73.7823 | 73.7823 | 216070.4883 | 216070.4883 | 216070.4883 | 216070.4883 | 67.8741 | 60.3689 | 53.0899 | 129.5114 | 2020 | 60.1125 | 60.9415 | 61.7373 | 53.2032 | 3.0657 | 3.108 | 3.1486 | 2.7134 | 595.0235 | 598.2973 | 601.4399 | 567.7387 | 73.7823 | 73.7823 | 73.7823 | 73.7823 | 216070.4883 | 216070.4883 | 216070.4883 | 216070.4883 | 186.6819 | 180.1404 | 173.8609 | 241.2015 | 2020 | 82.9263 | 84.9039 | 86.9151 | 69.0239 | 4.2292 | 4.3301 | 4.4327 | 3.5202 | 685.1161 | 692.9257 | 700.8679 | 630.2151 | 56.0521 | 54.8427 | 53.6615 | 67.2152 | 164147.8612 | 160606.2712 | 157146.9658 | 196838.7762 | 5.0609 | -6.6474 | -18.0463 | 106.0061 | 2020 | 64.6081 | 66.1664 | 67.7435 | 53.8373 | 3.295 | 3.3745 | 3.4549 | 2.7457 | 612.777 | 618.9308 | 625.1588 | 570.2425 | 50.654 | 49.5026 | 48.3497 | 61.4078 | 148339.5804 | 144967.8161 | 141591.5208 | 179831.935 | 103.809 | 93.1995 | 82.8738 | 196.5842
2021 | 70.8484 | 72.1528 | 73.1409 | 63.5082 | 3.5424 | 3.6076 | 3.657 | 3.1754 | 628.4775 | 633.5437 | 637.3817 | 599.9678 | 73.4315 | 73.4315 | 73.4315 | 73.4315 | 219344.2836 | 219344.2836 | 219344.2836 | 219344.2836 | 123.2333 | 112.9568 | 105.1717 | 181.0636 | 2021 | 57.4885 | 58.6422 | 59.5029 | 50.9697 | 2.8744 | 2.9321 | 2.9751 | 2.5485 | 576.5867 | 581.0679 | 584.4111 | 551.2675 | 73.4315 | 73.4315 | 73.4315 | 73.4315 | 219344.2836 | 219344.2836 | 219344.2836 | 219344.2836 | 228.4909 | 219.401 | 212.6196 | 279.8495 | 2021 | 77.2742 | 79.6025 | 81.5891 | 64.805 | 3.8637 | 3.9801 | 4.0795 | 3.2402 | 653.4356 | 662.4789 | 670.195 | 605.0044 | 55.7856 | 54.582 | 53.4064 | 66.8957 | 166634.9501 | 163039.6995 | 159527.9804 | 199821.1819 | 55.1594 | 40.3343 | 28.0822 | 155.6406 | 2021 | 60.8176 | 62.7692 | 64.3658 | 51.1616 | 3.0409 | 3.1385 | 3.2183 | 2.5581 | 589.5171 | 597.0973 | 603.2989 | 552.013 | 50.4132 | 49.2673 | 48.1199 | 61.1159 | 150587.1498 | 147164.2982 | 143736.8469 | 182556.6613 | 138.8598 | 125.3873 | 114.2237 | 231.6556
2022 | 68.322 | 70.4202 | 72.2019 | 62.5818 | 3.3478 | 3.4506 | 3.5379 | 3.0665 | 610.0128 | 618.0262 | 624.8305 | 588.0906 | 73.037 | 73.037 | 73.037 | 73.037 | 222618.0789 | 222618.0789 | 222618.0789 | 222618.0789 | 164.6454 | 148.1481 | 134.1399 | 209.7772 | 2022 | 55.902 | 57.5285 | 58.8846 | 50.3516 | 2.7392 | 2.8189 | 2.8853 | 2.4672 | 562.5798 | 568.7915 | 573.9708 | 541.3825 | 73.037 | 73.037 | 73.037 | 73.037 | 222618.0789 | 222618.0789 | 222618.0789 | 222618.0789 | 262.2967 | 249.5085 | 238.8458 | 305.9359 | 2022 | 73.9691 | 77.2873 | 80.3073 | 63.7896 | 3.6245 | 3.7871 | 3.9351 | 3.1257 | 631.5795 | 644.2522 | 655.7857 | 592.7032 | 55.4859 | 54.2888 | 53.1194 | 66.5362 | 169122.0389 | 165473.1279 | 161908.9951 | 202803.5876 | 91.3501 | 69.9868 | 51.2103 | 182.4547 | 2022 | 58.5258 | 61.1236 | 63.4311 | 50.4212 | 2.8678 | 2.9951 | 3.1081 | 2.4706 | 572.6003 | 582.5216 | 591.3342 | 541.6483 | 50.1423 | 49.0026 | 47.8613 | 60.7875 | 152834.7192 | 149360.7803 | 145882.173 | 185281.3876 | 165.9126 | 148.4377 | 133.0915 | 254.17
2023 | 65.76 | 68.5034 | 71.2022 | 61.5955 | 3.1565 | 3.2882 | 3.4177 | 2.9566 | 591.8695 | 602.1687 | 612.3002 | 576.2355 | 73.1247 | 73.1247 | 73.1247 | 73.1247 | 227528.7718 | 227528.7718 | 227528.7718 | 227528.7718 | 207.9989 | 186.3282 | 165.01 | 240.8949 | 2023 | 54.3024 | 56.4009 | 58.2434 | 49.7106 | 2.6065 | 2.7072 | 2.7957 | 2.3861 | 548.8566 | 556.7347 | 563.6515 | 531.6185 | 73.1247 | 73.1247 | 73.1247 | 73.1247 | 227528.7718 | 227528.7718 | 227528.7718 | 227528.7718 | 298.5038 | 281.9272 | 267.3734 | 334.775 | 2023 | 70.6174 | 74.7259 | 78.9427 | 62.7086 | 3.3896 | 3.5868 | 3.7892 | 3.01 | 610.1049 | 625.5285 | 641.3586 | 580.4143 | 55.5525 | 54.3539 | 53.1832 | 66.6161 | 172852.6721 | 169123.2704 | 165480.517 | 207277.1961 | 128.8666 | 101.9636 | 75.5422 | 211.4436 | 2023 | 56.2151 | 59.4576 | 62.4618 | 49.6533 | 2.6983 | 2.854 | 2.9982 | 2.3834 | 556.0371 | 568.2098 | 579.4877 | 531.4035 | 50.2025 | 49.0614 | 47.9188 | 60.8605 | 156206.0733 | 152655.5034 | 149100.1621 | 189368.477 | 194.5602 | 172.9533 | 153.3748 | 279.0043
2024 | 63.2124 | 66.9266 | 70.249 | 60.655 | 2.971 | 3.1456 | 3.3017 | 2.8508 | 574.2387 | 587.9411 | 600.1979 | 564.8044 | 73.1466 | 73.1466 | 73.1466 | 73.1466 | 232439.4647 | 232439.4647 | 232439.4647 | 232439.4647 | 251.9166 | 222.4626 | 196.1161 | 272.196 | 2024 | 52.7159 | 55.2878 | 57.625 | 49.0925 | 2.4776 | 2.5985 | 2.7084 | 2.3073 | 535.5157 | 545.0041 | 553.6263 | 522.1486 | 73.1466 | 73.1466 | 73.1466 | 73.1466 | 232439.4647 | 232439.4647 | 232439.4647 | 232439.4647 | 335.1533 | 314.7576 | 296.2238 | 363.8866 | 2024 | 67.2846 | 72.6189 | 77.6415 | 61.6779 | 3.1624 | 3.4131 | 3.6492 | 2.8989 | 589.2617 | 608.9404 | 627.4696 | 568.5778 | 55.5692 | 54.3702 | 53.1991 | 66.6361 | 176583.3053 | 172773.4129 | 169052.039 | 211750.8047 | 166.8475 | 131.8055 | 99.9989 | 240.5796 | 2024 | 53.9232 | 57.813 | 61.527 | 48.9128 | 2.5344 | 2.7172 | 2.8918 | 2.2989 | 539.9699 | 554.3197 | 568.021 | 521.4859 | 50.2176 | 49.0761 | 47.9331 | 60.8787 | 159577.4274 | 155950.2264 | 152318.1512 | 193455.5664 | 223.5207 | 197.745 | 173.8397 | 304.0424
2025 | 60.6859 | 65.272 | 69.2888 | 59.7076 | 2.7916 | 3.0025 | 3.1873 | 2.7466 | 557.1423 | 573.7628 | 588.3203 | 553.5967 | 72.5986 | 72.5986 | 72.5986 | 72.5986 | 235713.26 | 235713.26 | 235713.26 | 235713.26 | 294.2339 | 258.0042 | 226.2714 | 301.9626 | 2025 | 51.1294 | 54.174 | 57.0067 | 48.4743 | 2.352 | 2.492 | 2.6223 | 2.2298 | 522.5079 | 533.5422 | 543.8081 | 512.8855 | 72.5986 | 72.5986 | 72.5986 | 72.5986 | 235713.26 | 235713.26 | 235713.26 | 235713.26 | 369.7307 | 345.6779 | 323.3001 | 390.7057 | 2025 | 63.9795 | 70.4077 | 76.3306 | 60.6395 | 2.9431 | 3.2388 | 3.5112 | 2.7894 | 569.0786 | 592.3756 | 613.8411 | 556.974 | 55.1529 | 53.9629 | 52.8006 | 66.1368 | 179070.3941 | 175206.8413 | 171433.0536 | 214733.2104 | 203.7617 | 161.618 | 124.1061 | 268.3792 | 2025 | 51.6314 | 56.1673 | 60.5921 | 48.1723 | 2.375 | 2.5837 | 2.7872 | 2.2159 | 524.3275 | 540.766 | 556.8024 | 511.7911 | 49.8413 | 48.7085 | 47.574 | 60.4226 | 161824.9968 | 158146.7085 | 154463.4772 | 196180.2927 | 251.1094 | 221.3602 | 193.2977 | 327.1635
2026 | 58.524 | 63.8724 | 68.4209 | 58.8513 | 2.6921 | 2.9381 | 3.1474 | 2.7072 | 546.3962 | 565.7795 | 582.2641 | 547.5826 | 72.5986 | 72.5986 | 72.5986 | 72.5986 | 235713.26 | 235713.26 | 235713.26 | 235713.26 | 318.7993 | 276.547 | 240.6136 | 316.2131 | 2026 | 49.5669 | 53.0743 | 56.4015 | 47.8694 | 2.2801 | 2.4414 | 2.5945 | 2.202 | 513.9342 | 526.6458 | 538.7041 | 507.7824 | 72.5986 | 72.5986 | 72.5986 | 72.5986 | 235713.26 | 235713.26 | 235713.26 | 235713.26 | 389.5604 | 361.8516 | 335.5665 | 402.9704 | 2026 | 61.1512 | 68.5375 | 75.1459 | 59.701 | 2.813 | 3.1527 | 3.4567 | 2.7462 | 555.9175 | 582.6866 | 606.6366 | 550.662 | 55.1529 | 53.9629 | 52.8006 | 66.1368 | 179070.3941 | 175206.8413 | 171433.0536 | 214733.2104 | 226.4231 | 178.1647 | 136.3576 | 281.9529 | 2026 | 49.3743 | 54.5424 | 59.6774 | 47.4477 | 2.2712 | 2.509 | 2.7452 | 2.1826 | 513.2364 | 531.9663 | 550.5762 | 506.254 | 49.8413 | 48.7085 | 47.574 | 60.4226 | 161824.9968 | 158146.7085 | 154463.4772 | 196180.2927 | 268.4906 | 234.9951 | 202.939 | 338.1585
2027 | 56.3479 | 62.4906 | 67.578 | 58.0197 | 2.592 | 2.8746 | 3.1086 | 2.6689 | 535.5988 | 557.8611 | 576.2985 | 541.6578 | 72.5986 | 72.5986 | 72.5986 | 72.5986 | 235713.26 | 235713.26 | 235713.26 | 235713.26 | 343.4764 | 294.9485 | 254.7583 | 330.2687 | 2027 | 48.0043 | 51.9843 | 55.8062 | 47.2743 | 2.2082 | 2.3913 | 2.5671 | 2.1746 | 505.3604 | 519.7845 | 533.6359 | 502.7149 | 72.5986 | 72.5986 | 72.5986 | 72.5986 | 235713.26 | 235713.26 | 235713.26 | 235713.26 | 409.3907 | 377.9487 | 347.7552 | 415.1574 | 2027 | 58.3044 | 66.6911 | 73.9953 | 58.7896 | 2.682 | 3.0678 | 3.4038 | 2.7043 | 542.6894 | 573.0842 | 599.5558 | 544.4479 | 55.1529 | 53.9629 | 52.8006 | 66.1368 | 179070.3941 | 175206.8413 | 171433.0536 | 214733.2104 | 249.1955 | 194.5712 | 148.4129 | 295.3321 | 2027 | 47.1171 | 52.9318 | 58.7774 | 46.7348 | 2.1674 | 2.4349 | 2.7038 | 2.1498 | 502.1449 | 523.2186 | 544.404 | 500.7596 | 49.8413 | 48.7085 | 47.574 | 60.4226 | 161824.9968 | 158146.7085 | 154463.4772 | 196180.2927 | 285.8723 | 248.554 | 212.5032 | 349.076
2028 | 54.1963 | 61.031 | 66.7314 | 57.1844 | 2.4388 | 2.7464 | 3.0029 | 2.5733 | 520.7 | 545.026 | 565.3145 | 531.3352 | 72.5 | 72.5 | 72.5 | 72.5 | 240623.9529 | 240623.9529 | 240623.9529 | 240623.9529 | 385.2176 | 331.0866 | 285.9399 | 361.5518 | 2028 | 46.4321 | 50.8939 | 55.2012 | 46.6695 | 2.0894 | 2.2902 | 2.4841 | 2.1001 | 493.0657 | 508.9463 | 524.2765 | 493.9106 | 72.5 | 72.5 | 72.5 | 72.5 | 240623.9529 | 240623.9529 | 240623.9529 | 240623.9529 | 446.7104 | 411.3724 | 377.2591 | 444.8302 | 2028 | 55.4897 | 64.7406 | 72.8396 | 57.8741 | 2.497 | 2.9133 | 3.2778 | 2.6043 | 525.3033 | 558.2291 | 587.0548 | 533.7899 | 55.0779 | 53.8896 | 52.7288 | 66.047 | 182801.0273 | 178856.9838 | 175004.5755 | 219206.8189 | 284.8663 | 224.26 | 172.7782 | 324.3952 | 2028 | 44.8459 | 51.3208 | 57.8628 | 46.0102 | 2.0181 | 2.3094 | 2.6038 | 2.0705 | 487.4202 | 510.4656 | 533.7495 | 491.5643 | 49.7736 | 48.6423 | 47.5094 | 60.3405 | 165196.3509 | 161441.4316 | 157681.4664 | 200267.3822 | 315.3061 | 273.733 | 233.4052 | 374.5703
2029 | 52.0059 | 59.7022 | 65.8885 | 56.3528 | 2.3403 | 2.6866 | 2.965 | 2.5359 | 510.0562 | 537.4489 | 559.4669 | 525.5278 | 72.5 | 72.5 | 72.5 | 72.5 | 240623.9529 | 240623.9529 | 240623.9529 | 240623.9529 | 410.0417 | 349.0865 | 300.0913 | 375.6139 | 2029 | 44.8565 | 49.7945 | 54.6059 | 46.0744 | 2.0185 | 2.2408 | 2.4573 | 2.0733 | 484.6104 | 502.1855 | 519.3102 | 488.9451 | 72.5 | 72.5 | 72.5 | 72.5 | 240623.9529 | 240623.9529 | 240623.9529 | 240623.9529 | 466.6646 | 427.5559 | 389.4495 | 457.0189 | 2029 | 52.6241 | 62.965 | 71.689 | 56.9627 | 2.3681 | 2.8334 | 3.226 | 2.5633 | 512.2566 | 549.0616 | 580.112 | 527.6983 | 55.0779 | 53.8896 | 52.7288 | 66.047 | 182801.0273 | 178856.9838 | 175004.5755 | 219206.8189 | 307.7872 | 240.2701 | 184.8429 | 337.7817 | 2029 | 42.5699 | 49.6963 | 56.9628 | 45.2974 | 1.9156 | 2.2363 | 2.5633 | 2.0384 | 476.4719 | 501.8362 | 527.699 | 486.1795 | 49.7736 | 48.6423 | 47.5094 | 60.3405 | 165196.3509 | 161441.4316 | 157681.4664 | 200267.3822 | 332.8139 | 287.3809 | 242.9747 | 385.4912
2030 | 49.84 | 58.3239 | 65.0456 | 55.5212 | 2.193 | 2.5663 | 2.862 | 2.4429 | 495.719 | 525.3635 | 548.8506 | 515.5704 | 72.3356 | 72.3356 | 72.3356 | 72.3356 | 245534.6458 | 245534.6458 | 245534.6458 | 245534.6458 | 452.3484 | 385.0364 | 331.7055 | 407.273 | 2030 | 43.2713 | 48.6947 | 54.0106 | 45.4793 | 1.9039 | 2.1426 | 2.3765 | 2.0011 | 472.7667 | 491.7172 | 510.2921 | 480.4821 | 72.3356 | 72.3356 | 72.3356 | 72.3356 | 245534.6458 | 245534.6458 | 245534.6458 | 245534.6458 | 504.4649 | 461.4352 | 419.2583 | 486.9462 | 2030 | 49.7906 | 61.1231 | 70.5384 | 56.0512 | 2.1908 | 2.6894 | 3.1037 | 2.4663 | 495.5467 | 535.1445 | 568.0435 | 517.4224 | 54.953 | 53.7674 | 52.6093 | 65.8972 | 186531.6605 | 182507.1263 | 178576.0975 | 223680.4275 | 343.9445 | 269.6913 | 209.5519 | 367.1921 | 2030 | 40.2799 | 48.0713 | 56.0629 | 44.5845 | 1.7723 | 2.1151 | 2.4668 | 1.9617 | 462.3144 | 489.5391 | 517.4633 | 477.3554 | 49.6608 | 48.532 | 47.4017 | 60.2037 | 168567.705 | 164736.1547 | 160899.4555 | 204354.4716 | 362.6259 | 312.9081 | 264.0705 | 411.1861
500 MW Load Plant Grid with Battery (2 GW Hybrid, 1 GW 1.5 GWh Battery) | [24 empty] | 500 MW Load Plant Grid with No Battery (2 GW Hybrid) | [24 empty] | 500 MW Load Plant No Grid with Battery (2 GW Hybrid, 1 GW 1.5 GWh Battery) | [24 empty] | 500 MW Load Plant No Grid with No Battery (2 GW Hybrid)
Year | Electricity Cost ($/mwh) |  |  |  | LCOH (feedstock) ($/kg) |  |  |  | LCOS ($/tls) |  |  |  | Min Electrolyzer Size (MW) |  |  |  | Steel Production (tls) |  |  |  | Net Present Value |  |  |  | Year | Electricity Cost ($/mwh) |  |  |  | LCOH (feedstock) ($/kg) |  |  |  | LCOS ($/tls) |  |  |  | Min Electrolyzer Size (MW) |  |  |  | Steel Production (tls) |  |  |  | Net Present Value |  |  |  | Year | Electricity Cost ($/mwh) |  |  |  | LCOH (feedstock) ($/kg) |  |  |  | LCOS ($/tls) |  |  |  | Min Electrolyzer Size (MW) |  |  |  | Steel Production (tls) |  |  |  | Net Present Value |  |  |  | Year | Electricity Cost ($/mwh) |  |  |  | LCOH (feedstock) ($/kg) |  |  |  | LCOS ($/tls) |  |  |  | Min Electrolyzer Size (MW) |  |  |  | Steel Production (tls) |  |  |  | Net Present Value
| Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) |  | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) |  | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) |  | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative) | Georgia (advanced) | Georgia (moderate) | Georgia (Conservative | Texas (Conservative)
2020 | 74.8664 | 75.8182 | 76.7482 | 67.1569 | 3.8182 | 3.8667 | 3.9142 | 3.425 | 653.2874 | 657.046 | 660.7184 | 622.8422 | 368.9113 | 368.9113 | 368.9113 | 368.9113 | 1080352.4417 | 1080352.4417 | 1080352.4417 | 1080352.4417 | 351.3043 | 313.7523 | 277.0625 | 655.4771 | 2020 | 59.7892 | 60.6188 | 61.4177 | 52.9707 | 3.0492 | 3.0916 | 3.1323 | 2.7015 | 593.7469 | 597.023 | 600.1781 | 566.8203 | 368.9113 | 368.9113 | 368.9113 | 368.9113 | 1080352.4417 | 1080352.4417 | 1080352.4417 | 1080352.4417 | 946.1639 | 913.4326 | 881.9109 | 1215.1837 | 2020 | 82.6197 | 84.6008 | 86.6221 | 68.8272 | 4.2136 | 4.3146 | 4.4177 | 3.5102 | 683.9054 | 691.7288 | 699.7109 | 629.4381 | 279.4548 | 273.3714 | 267.491 | 335.6413 | 818380.1221 | 800564.947 | 783344.11 | 982921.5249 | 34.3945 | -24.274 | -81.5759 | 536.408 | 2020 | 64.1917 | 65.7485 | 67.329 | 53.5665 | 3.2738 | 3.3532 | 3.4338 | 2.7319 | 611.1326 | 617.2805 | 623.522 | 569.1733 | 252.3238 | 246.5345 | 240.7779 | 306.3458 | 738927.2354 | 721973.3256 | 705115.3142 | 897129.9071 | 528.3426 | 475.1735 | 423.3787 | 989.5724
2021 | 70.5611 | 71.8613 | 72.8554 | 63.3151 | 3.5281 | 3.5931 | 3.6428 | 3.1658 | 627.3616 | 632.4116 | 636.2728 | 599.2178 | 367.1577 | 367.1577 | 367.1577 | 367.1577 | 1096721.4181 | 1096721.4181 | 1096721.4181 | 1096721.4181 | 627.4848 | 576.266 | 537.1055 | 912.925 | 2021 | 57.1847 | 58.3344 | 59.1973 | 50.7504 | 2.8592 | 2.9167 | 2.9599 | 2.5375 | 575.4068 | 579.8723 | 583.224 | 550.4156 | 367.1577 | 367.1577 | 367.1577 | 367.1577 | 1096721.4181 | 1096721.4181 | 1096721.4181 | 1096721.4181 | 1154.421 | 1109.1309 | 1075.1372 | 1407.8878 | 2021 | 76.972 | 79.2979 | 81.2924 | 64.6114 | 3.8486 | 3.9649 | 4.0646 | 3.2306 | 652.2619 | 661.2956 | 669.0424 | 604.2525 | 278.1265 | 272.072 | 266.2195 | 334.0458 | 830779.8209 | 812694.7189 | 795212.9601 | 997814.2753 | 284.022 | 209.9448 | 148.4598 | 784.1355 | 2021 | 60.4159 | 62.3605 | 63.959 | 50.9009 | 3.0208 | 3.118 | 3.198 | 2.545 | 587.9569 | 595.5102 | 601.7188 | 551.0002 | 251.1244 | 245.3626 | 239.6334 | 304.8896 | 750123.1026 | 732912.3154 | 715798.8796 | 910722.7845 | 702.5282 | 635.2151 | 579.2845 | 1164.1934
2022 | 68.0498 | 70.139 | 71.9255 | 62.3974 | 3.3344 | 3.4368 | 3.5243 | 3.0575 | 608.9732 | 616.952 | 623.7748 | 587.3862 | 365.1849 | 365.1849 | 365.1849 | 365.1849 | 1113090.3945 | 1113090.3945 | 1113090.3945 | 1113090.3945 | 833.9283 | 751.7977 | 681.5671 | 1056.1363 | 2022 | 55.6154 | 57.2319 | 58.5885 | 50.1416 | 2.7252 | 2.8044 | 2.8708 | 2.4569 | 561.4853 | 567.6589 | 572.84 | 540.5805 | 365.1849 | 365.1849 | 365.1849 | 365.1849 | 1113090.3945 | 1113090.3945 | 1113090.3945 | 1113090.3945 | 1322.7503 | 1259.2011 | 1205.8693 | 1537.9353 | 2022 | 73.6776 | 76.9896 | 80.0191 | 63.6043 | 3.6102 | 3.7725 | 3.9209 | 3.1166 | 630.4665 | 643.1153 | 654.6852 | 591.9955 | 276.632 | 270.6101 | 264.789 | 332.251 | 843179.5197 | 824824.4908 | 807081.8103 | 1012707.0257 | 464.1162 | 357.5308 | 263.4863 | 917.7224 | 2022 | 58.1408 | 60.7255 | 63.0351 | 50.17 | 2.8489 | 2.9755 | 3.0887 | 2.4583 | 571.13 | 581.0012 | 589.8216 | 540.689 | 249.7751 | 244.0442 | 238.3458 | 303.2514 | 761318.9698 | 743851.3052 | 726482.445 | 924315.6619 | 836.8159 | 749.7128 | 672.9482 | 1276.1817
2023 | 65.5031 | 68.2326 | 70.935 | 61.4199 | 3.1441 | 3.2752 | 3.4049 | 2.9482 | 590.9051 | 601.1518 | 611.2972 | 575.5764 | 365.6233 | 365.6233 | 365.6233 | 365.6233 | 1137643.859 | 1137643.859 | 1137643.859 | 1137643.859 | 1050.1414 | 942.3385 | 835.6029 | 1211.409 | 2023 | 54.0332 | 56.1165 | 57.9571 | 49.5102 | 2.5936 | 2.6936 | 2.7819 | 2.3765 | 547.8461 | 555.6667 | 562.5768 | 530.8663 | 365.6233 | 365.6233 | 365.6233 | 365.6233 | 1137643.859 | 1137643.859 | 1137643.859 | 1137643.859 | 1503.1506 | 1420.8724 | 1348.1736 | 1681.7889 | 2023 | 70.3369 | 74.4348 | 78.6631 | 62.5317 | 3.3762 | 3.5729 | 3.7758 | 3.0015 | 609.0518 | 624.4355 | 640.3091 | 579.75 | 276.9641 | 270.9349 | 265.1069 | 332.6498 | 861779.068 | 843019.1487 | 824885.0855 | 1035046.1512 | 650.8744 | 516.7735 | 384.5675 | 1062.2096 | 2023 | 55.8471 | 59.0712 | 62.0768 | 49.412 | 2.6807 | 2.8354 | 2.9797 | 2.3718 | 554.6555 | 566.759 | 578.0423 | 530.4975 | 250.0749 | 244.3372 | 238.632 | 303.6154 | 778112.7706 | 760259.7898 | 742507.793 | 944704.978 | 979.1083 | 871.5475 | 773.7198 | 1399.7875
2024 | 62.9706 | 66.666 | 69.9909 | 60.4881 | 2.9596 | 3.1333 | 3.2896 | 2.8429 | 573.3466 | 586.9795 | 599.2456 | 564.1887 | 365.7329 | 365.7329 | 365.7329 | 365.7329 | 1162197.3236 | 1162197.3236 | 1162197.3236 | 1162197.3236 | 1269.1705 | 1122.648 | 990.8151 | 1367.5972 | 2024 | 52.4639 | 55.0141 | 57.3483 | 48.9015 | 2.4658 | 2.5857 | 2.6954 | 2.2984 | 534.5863 | 543.9942 | 552.6055 | 521.444 | 365.7329 | 365.7329 | 365.7329 | 365.7329 | 1162197.3236 | 1162197.3236 | 1162197.3236 | 1162197.3236 | 1685.7562 | 1584.6418 | 1492.0903 | 1827.0057 | 2024 | 67.0147 | 72.3352 | 77.3705 | 61.5092 | 3.1497 | 3.3998 | 3.6364 | 2.8909 | 588.2661 | 607.8942 | 626.4697 | 567.9555 | 277.0472 | 271.0162 | 265.1864 | 332.7495 | 880378.6162 | 861213.8066 | 842688.3607 | 1057385.2768 | 839.9443 | 665.3362 | 506.2654 | 1207.4284 | 2024 | 53.572 | 57.4363 | 61.1528 | 48.6811 | 2.5179 | 2.6995 | 2.8742 | 2.288 | 538.6742 | 552.9301 | 566.6406 | 520.6311 | 250.1499 | 244.4105 | 238.7035 | 303.7064 | 794906.5714 | 776668.2745 | 758533.1411 | 965094.294 | 1122.9538 | 994.7967 | 875.3927 | 1524.4093
2025 | 60.4592 | 65.0215 | 69.0397 | 59.5494 | 2.7811 | 2.991 | 3.1758 | 2.7393 | 556.3207 | 572.8551 | 587.4176 | 553.0233 | 362.993 | 362.993 | 362.993 | 362.993 | 1178566.3 | 1178566.3 | 1178566.3 | 1178566.3 | 1480.1241 | 1299.9138 | 1141.1955 | 1516.0626 | 2025 | 50.8946 | 53.9116 | 56.7395 | 48.2927 | 2.3412 | 2.4799 | 2.61 | 2.2215 | 521.657 | 532.5911 | 542.8399 | 512.2274 | 362.993 | 362.993 | 362.993 | 362.993 | 1178566.3 | 1178566.3 | 1178566.3 | 1178566.3 | 1857.9272 | 1738.7553 | 1627.0527 | 1960.7018 | 2025 | 63.7204 | 70.1314 | 76.0681 | 60.479 | 2.9311 | 3.226 | 3.4991 | 2.782 | 568.1396 | 591.3741 | 612.8896 | 556.3925 | 274.9716 | 268.9858 | 263.1997 | 330.2567 | 892778.315 | 873343.5785 | 854557.2109 | 1072278.0272 | 1023.6324 | 813.6969 | 626.1615 | 1345.928 | 2025 | 51.2969 | 55.8012 | 60.2288 | 47.9502 | 2.3597 | 2.5669 | 2.7705 | 2.2057 | 523.1151 | 539.4393 | 555.4854 | 510.9863 | 248.2758 | 242.5794 | 236.9152 | 301.4311 | 806102.4386 | 787607.2643 | 769216.7064 | 978687.1714 | 1259.8945 | 1112.0882 | 971.9766 | 1639.4091
2026 | 58.3122 | 63.6319 | 68.1807 | 58.7016 | 2.6824 | 2.9271 | 3.1363 | 2.7003 | 545.6286 | 564.9081 | 581.3936 | 547.04 | 362.993 | 362.993 | 362.993 | 362.993 | 1178566.3 | 1178566.3 | 1178566.3 | 1178566.3 | 1602.3627 | 1392.2331 | 1212.5562 | 1586.9791 | 2026 | 49.3481 | 52.8221 | 56.1436 | 47.6968 | 2.27 | 2.4298 | 2.5826 | 2.1941 | 513.1414 | 525.7318 | 537.7692 | 507.1568 | 362.993 | 362.993 | 362.993 | 362.993 | 1178566.3 | 1178566.3 | 1178566.3 | 1178566.3 | 1956.4436 | 1819.2191 | 1688.0223 | 2021.6701 | 2026 | 60.9039 | 68.2691 | 74.892 | 59.5487 | 2.8016 | 3.1404 | 3.445 | 2.7392 | 555.0213 | 581.7139 | 605.7164 | 550.1101 | 274.9716 | 268.9858 | 263.1997 | 330.2567 | 892778.315 | 873343.5785 | 854557.2109 | 1072278.0272 | 1136.2607 | 895.9438 | 686.986 | 1413.4149 | 2026 | 49.0549 | 54.1854 | 59.3243 | 47.2348 | 2.2565 | 2.4925 | 2.7289 | 2.1728 | 512.0788 | 530.6727 | 549.2966 | 505.4825 | 248.2758 | 242.5794 | 236.9152 | 301.4311 | 806102.4386 | 787607.2643 | 769216.7064 | 978687.1714 | 1346.0672 | 1179.7529 | 1019.7241 | 1693.9581
2027 | 56.151 | 62.2602 | 67.3467 | 57.8785 | 2.5829 | 2.864 | 3.0979 | 2.6624 | 534.8852 | 557.0259 | 575.4601 | 541.1461 | 362.993 | 362.993 | 362.993 | 362.993 | 1178566.3 | 1178566.3 | 1178566.3 | 1178566.3 | 1725.1597 | 1483.8459 | 1282.9293 | 1656.9207 | 2027 | 47.8016 | 51.7424 | 55.5574 | 47.1106 | 2.1989 | 2.3802 | 2.5556 | 2.1671 | 504.6257 | 518.9079 | 532.734 | 502.1217 | 362.993 | 362.993 | 362.993 | 362.993 | 1178566.3 | 1178566.3 | 1178566.3 | 1178566.3 | 2054.9605 | 1899.2977 | 1748.6058 | 2082.2522 | 2027 | 58.0688 | 66.4307 | 73.7501 | 58.6455 | 2.6712 | 3.0558 | 3.3925 | 2.6977 | 541.8358 | 572.1406 | 598.6671 | 543.9258 | 274.9716 | 268.9858 | 263.1997 | 330.2567 | 892778.315 | 873343.5785 | 854557.2109 | 1072278.0272 | 1249.444 | 977.4891 | 746.8299 | 1479.9286 | 2027 | 46.8129 | 52.5841 | 58.4346 | 46.5311 | 2.1534 | 2.4189 | 2.688 | 2.1404 | 501.0425 | 521.9584 | 543.1614 | 500.0213 | 248.2758 | 242.5794 | 236.9152 | 301.4311 | 806102.4386 | 787607.2643 | 769216.7064 | 978687.1714 | 1432.2403 | 1247.0359 | 1067.0891 | 1748.1222
2028 | 54.0143 | 60.8106 | 66.5089 | 57.0517 | 2.4306 | 2.7365 | 2.9929 | 2.5673 | 520.0522 | 544.2413 | 564.5227 | 530.863 | 362.4998 | 362.4998 | 362.4998 | 362.4998 | 1203119.7646 | 1203119.7646 | 1203119.7646 | 1203119.7646 | 1933.2955 | 1664.1637 | 1438.5092 | 1813.0129 | 2028 | 46.2453 | 50.6626 | 54.9614 | 46.5147 | 2.081 | 2.2798 | 2.4733 | 2.0932 | 492.401 | 508.1229 | 523.4232 | 493.3599 | 362.4998 | 362.4998 | 362.4998 | 362.4998 | 1203119.7646 | 1203119.7646 | 1203119.7646 | 1203119.7646 | 2240.9475 | 2066.0226 | 1895.7889 | 2230.2784 | 2028 | 55.266 | 64.488 | 72.6031 | 57.7382 | 2.487 | 2.902 | 3.2671 | 2.5982 | 524.507 | 557.3299 | 586.213 | 533.3063 | 274.598 | 268.6203 | 262.8421 | 329.8079 | 911377.8632 | 891538.2364 | 872360.4861 | 1094617.1528 | 1426.9484 | 1125.2696 | 868.0534 | 1624.7738 | 2028 | 44.5567 | 50.9827 | 57.5301 | 45.8157 | 2.0051 | 2.2942 | 2.5889 | 2.0617 | 486.3909 | 509.2622 | 532.5656 | 490.8717 | 247.9385 | 242.2498 | 236.5933 | 301.0216 | 822896.2395 | 804015.749 | 785242.0545 | 999076.4875 | 1578.4741 | 1372.2019 | 1170.9379 | 1875.0226
2029 | 51.839 | 59.4917 | 65.6749 | 56.2287 | 2.3328 | 2.6771 | 2.9554 | 2.5303 | 509.4621 | 536.6998 | 558.7067 | 525.0859 | 362.4998 | 362.4998 | 362.4998 | 362.4998 | 1203119.7646 | 1203119.7646 | 1203119.7646 | 1203119.7646 | 2056.8182 | 1753.7678 | 1508.9148 | 1882.986 | 2029 | 44.686 | 49.5732 | 54.3753 | 45.9286 | 2.0109 | 2.2308 | 2.4469 | 2.0668 | 484.0035 | 501.3979 | 518.4893 | 488.4261 | 362.4998 | 362.4998 | 362.4998 | 362.4998 | 1203119.7646 | 1203119.7646 | 1203119.7646 | 1203119.7646 | 2340.0753 | 2146.5424 | 1956.3802 | 2290.8683 | 2029 | 52.4123 | 62.7206 | 71.4612 | 56.835 | 2.3586 | 2.8224 | 3.2158 | 2.5576 | 511.5029 | 548.1917 | 579.3012 | 527.244 | 274.598 | 268.6203 | 262.8421 | 329.8079 | 911377.8632 | 891538.2364 | 872360.4861 | 1094617.1528 | 1540.8648 | 1204.8329 | 927.9433 | 1691.3234 | 2029 | 42.2961 | 49.367 | 56.6405 | 45.1119 | 1.9033 | 2.2215 | 2.5488 | 2.03 | 475.4975 | 500.664 | 526.5516 | 485.5195 | 247.9385 | 242.2498 | 236.5933 | 301.0216 | 822896.2395 | 804015.749 | 785242.0545 | 999076.4875 | 1665.2686 | 1439.9386 | 1218.3278 | 1929.2029
2030 | 49.6882 | 58.1234 | 64.8409 | 55.4056 | 2.1863 | 2.5574 | 2.853 | 2.4378 | 495.1886 | 524.6629 | 548.1353 | 515.1663 | 361.6778 | 361.6778 | 361.6778 | 361.6778 | 1227673.2292 | 1227673.2292 | 1227673.2292 | 1227673.2292 | 2267.7647 | 1933.136 | 1666.6488 | 2040.9524 | 2030 | 43.1169 | 48.4837 | 53.7891 | 45.3424 | 1.8971 | 2.1333 | 2.3667 | 1.9951 | 472.2274 | 490.98 | 509.5181 | 480.0038 | 361.6778 | 361.6778 | 361.6778 | 361.6778 | 1227673.2292 | 1227673.2292 | 1227673.2292 | 1227673.2292 | 2528.4481 | 2315.5459 | 2105.0787 | 2440.1607 | 2030 | 49.5909 | 60.8867 | 70.3193 | 55.9318 | 2.182 | 2.679 | 3.0941 | 2.461 | 494.8488 | 534.3185 | 567.278 | 517.0051 | 273.9753 | 268.0112 | 262.246 | 329.0601 | 929977.4115 | 909732.8943 | 890163.7613 | 1116956.2783 | 1720.7813 | 1351.2636 | 1050.8734 | 1837.8969 | 2030 | 40.0214 | 47.7512 | 55.7508 | 44.4082 | 1.7609 | 2.1011 | 2.453 | 1.954 | 461.411 | 488.4205 | 516.3727 | 476.7395 | 247.3763 | 241.7005 | 236.0568 | 300.339 | 839690.0403 | 820424.2336 | 801267.4025 | 1019465.8035 | 1813.3717 | 1566.8421 | 1323.1325 | 2057.0968
Notes
Buy Price was $50/MWh
Interconnection size = plant load size
Selling to the grid was not accounted for
Plant Load is entire electrical load of plant, excess energy is loss and not sold
Electrolyzer Sizes are based off of H2A Models and Projected Electrolyzers Specs/efficiencies
NPVs Based off market sell price of 700$
40 year plant life